
[image: image1.png]Q& A



 

FAQ-DLM-536      Frequently Ask Questions for DLM-536             
Does it have a date & time clock?
A:   Yes, it has date and time clock as Fiq. 1.
[image: image2.jpg]&5 050118. DAT

PRINT EXIT

01-18-2008
01-18-2008
01-18-2008
01-18-2008
01-18-2008
01-18-2006

Time

09:58:19
09:58:20
09:58:21
09:58:22
09:58:23
09:58:24

Value
470
540
530
540
550
460

Unit
Lux
Lux
Lux
Lux
Lux
Lux

Bat

TRange

20000
20000
20000
20000
20000
20000




 Fiq. 1
 

 

If so, can the clock be set to the correct date & time by the user?
A :  You can  reset  “ SYSTEM  TIME  SET” for the correct date and time as Fig 2.
[image: image3.jpg]‘ GRAPH LIST MEMORY LIGHTING

SYSTEM TIME SET

<--RESET-->

‘ SAVE AS OPEN FILE 'PC SAMPLING

START RECORDING





 Fig 2
 
Can the time between samples be set as long as 30 minutes?
If not, then what is the longest sample interval that can be set?
A:  Real Time Sampling time from 1 sec to 65 sec. as Fiq. 3
[image: image4.jpg]Input Sampling Time

Enterthe SAMPLING TIME
in seconds

(1 e=tes65) Cancel




  Fiq 3. 
B. Logger Sampling Time for 30 minutes (1,800 sec)

[image: image5.jpg]3 RECORDS COMPLETED

D CODE il SAMPLING

TTIBRE OF SR,

IE OF BRCORDING

SET | DATE—TIME -
04-10-19—16:54:05
04-12-30—14:34:06
04-12-30—14:34:07
04-12-30—14:34:07
06-01-18—11:38:01
06-01-18—11:38:05
9 |06-01-18—11:38:07
10 |06-01-18—12:42:07
11 |06-01-18—11:58:13





[image: image6.jpg]e REC_LIST i
SAVE PRINT GRAPH EXIT

DATE TIME
06-01-18  11:58:20
06-01-18  12:28:20
06-01-18 _ 12:58:20





 

Does it log the date and time against each sample taken?
 

 

Exactly what type of battery does it use?  
One 9 Volt battery, NEDA 1604 or JIS 006P or IEC6F22
 

What current (Ampere) does it require?
Approx. 100mA    Battery Life (typical):  50hours ( Alkaline Battery )
 

If the battery runs out (or becomes disconnected), are all the collected data points lost?
There is Back up CR2032 Battery to protect the collected data points.
Please tell me whether its software is able to export logged data for an external software like Microsoft Excel or not.
Yes, it can export its data in txt.file and you can use Microsoft Excel

To modify its context to meet your need.
 

 Please advise which intervals can be set on instrument with pushbutons?
Can customer sets interval on instrument without PC or not?
No, you cannot get interval setting on instrument and you have to set it

On your PC.
 

TECPEL CO., LTD.

4F-1, No. 225, Sec. 3, Heping East Rd.,

11056 Taipei, Taiwan, R. O. C.

http://www.tecpel.com
E-mail: sales@tecpel.com
Jan. 18, 2005
_1199099527.bin

