TR-71U                                   TR-72U

	



	




	
	TR-71U
	TR-72U

	Measurement Channel
	2 Channel
(Select from Internal or External)
	2 Channel
(Temperature and Humidity)

	Measurement Item
	Temperature Only
	Temperature
	Humidity

	Internal Sensor
	-10 to 60°C
	-10 to 60°C
	-

	External Sensor
	-40 to 110°C
	0 to 50°C
	10 to 95%RH

	Option Sensor
	-60 to 155°C *1
	-40 to 110°C
	-

	Measurement Accuracy
(Standard Sensor)
	Average ±0.3°C(-20 to 80°C)
Average ±0.5°C(-40 to-20/80 to 110°C)
	±5%RH
(At 25°C 50%RH)

	Measurement Resolution Display
	0.1°C
	1%RH

	Sensor
	Thermistor
	Macromolecular
Humidity Sensor

	Recording Interval
	1,2,5,10,15,20,30Seconds,1,2,5,10,15,20,30,60Minutes / Total of 15 choices

	Recording Capacity
	8,000 Readings x 2 Channels

	Recording Method
	Endless (Overwrite from the oldest data when recording capacity is full)
One time Method (Stop recording when recording capacity is full)

	LCD Display
	Measurements (Ch1 only, Ch2 only, alternating display), Recording Status,
Battery Life Warning, Amount of Recorded Data, Unit of Measurement

	Battery
	AA Alkaline battery (LR6)

	Battery Life
	About 1year *2

	Data Back-up
	Activated when battery power is low or when switch is off (about 1 year)

	Interface
	USB Communication Cable (option: RS-232C)

	USB Communication time
	When downloading (1 unit of full data-about 8 seconds)

	Dimentions
	H55mm x W78mm x D18mm

	Weight
	About 62g (Including AA alkaline batteries)

	Warking Environment for Main Unit
	Temperature: -10 to 60°C
Humidity: under 90%RH (without condensation)

	Attached Sensors
	TR-0106 x 2
	TR-3100 x 1

	*1: There are two types of temperature sensor for TR-71U depending on measurement range.
*2: Battery life depends upon the measuring environment, recording interval, and quality of the battery being used.


